TÜRKİYE ŞEKER FABRİKALARI A.Ş.                                             Etimesgut, 13.04.2009

ŞEKER ENSTİTÜSÜ                                                                             Report No: 31

Analytical Branch

ANALYSIS RESULT OF WHITE CRYSTAL SUGAR

Sample Type			: White Sugar

Sampler			: Konya Şeker Sanayi ve Tic. A.Ş.

Date of Sample Receipt	: 06.04.2009

Package			: 2 kg white sugar in nylon bag

Description of Sample	: White sugar sent by cargo to our institute, with reference to Konya Sugar Factory’s letter, has 02.04.2009 date and 05873 number,

Results:

| Polarization, ⁰Z | (1) | % | 99.90 |
| --- | --- | --- | --- |
| Solution Color | (2) | IU | 33.7 |
| Turbidity | (3) | IU | 27.7 |
| Loss on Drying | (4) | % | 0.02 |
| Conductivity Ash | (5) | % | 0.009 |
| Invert Sugar | (6) | % | 0.002 |
| Sulfur Dioxide (SO2) | (7) | mg/kg | 0 |
| Braunschweig Point | (8) | Point | 3.0 |
| Insoluble Matter in Water | (9) | mg/kg | 4.4 |
| Floc. Test | (10) |  | 0 |
| Sieving Test | (11) |  |  |
| Average Particle Size |  | mm | 0.600 |
| Coefficient of Variation |  | % | 35.8 |
| Arsenic (As) | (12) | mg/kg | 0 |
| Copper (Cu) | (12) | mg/kg | 0.06 |
| Lead (Pb) | (12) | mg/kg | 0.01 |
| Iron (Fe) | (12) | mg/kg | 0.18 |

Note:

ICUMSA Method GS 2/3 -1

ICUMSA Method GS 2/3 -10

ICUMSA  1998 Proceedings, 245

ICUMSA Method GS 2/1/3/9 -15

ICUMSA Method GS 2/3 -17

ICUMSA Method GS 2/3/9 -5 (Knight and Allen EDTA Method)

ICUMSA Method GS 2/33

ICUMSA Method GS 2-11

ICUMSA Method GS 2/3 -19

(10) Coca – Cola Metodu (Ref: ICUMSA Analysis 186, 1979)

(11) ICUMSA Method GS 2/37

(12) Perkin Elmer Brand Optima 4300 DU Model ICP-OES (Inductively Coupled Plasma-Optima Emission Spectrometry) is used.

MICROBIOLOGIC ANALYSIS RESULTS

| Sample Number | Total Mesophilic Bactria (kob/g) | Coliform Bacteria (kob/g) | Yeast (kob/g) | Fungus (kob/g) |
| --- | --- | --- | --- | --- |
| E167 | 70 | 0 | 0 | 0 |
| Turkish Food Codex Microbiologic Criteria Issue (No: 2001/19), dated September, 02th 2001, in Official Paper No 24511, Annex 3, Microbiologic Figures for Sugar and Products of Sugar | 10000 | absent in 25 g. | - | - |