## POWER MANAGEMENT BOX  SUITE

## PBOX-01S

1-phase automatic switching unit, PV is prioritary, Grid & Generator are back-up.

Load power = 8 kW / 35 A,

Grid power = 8 kW / 35A,

PV-power = 8 kW / 35 A,

Genarator power = 8 kW / 35 A

## PBOX-03S

3-phase automatic switching unit, PV is prioritary , Grid & Generator are back-up.

Load power = 24 kW / 3x35 A,

Grid power = 24 kW / 3x35A,

PV-power = 24 kW / 3x35 A,

Genarator power = 24 kW / 3x35 A

## PBOX-01G

1-phase automatic switching unit , Grid is prioritary, PV & Generator are back-up.

Load power = 8 kW / 35 A,

Grid power = 8 kW / 35A,

PV-power = 8 kW / 35 A,

Genarator power = 8 kW / 35 A

## PBOX-03G

3-phase automatic switching unit , Grid is prioritary, PV & Generator are back-up.

Load power = 24 kW / 3x35 A,

Grid power = 24 kW / 3x35A,

PV-power = 24 kW / 3x35 A,

Genarator power = 24 kW / 3x35 A

Common features:

- automatic switching

- in / out protected with fast power breakers (fuses)

- adjustable LVD (low voltage disconnect) to accommodate 12/24/48v PV system

- adjustable LVR (low voltage reconnect ) to accommodate 12/24/48v  PV system

- start Generator before switching to load in order to reach nominal parameters

- adjustable time period needed by generator from start to switch

- selectable PV system type – 12/24/48v

- 4 LED display

- insulated metal case

- IP 55 protection

Prices : ( euro , VAT inclusiv )

| ## PBOX-01S | 1250 | 1125 | 1000 |
| --- | --- | --- | --- |
| PBOX-03S | 1535 | 1380 | 1228 |
| PBOX-01G | 1280 | 1155 | 1024 |
| PBOX-03G | 1580 | 1422 | 1265 |
| Fob Ploiesti | 1 BUC | 10 BUC | > 25BUC |

Delivery time:

Please contact us at:  office@infolink.com.ro